## Sheet1
APPENDIX G-1 SCOPE OF WORK - REQUIRED FORMAT
A Scope of Work in the following format is an Application Threshold item for all Preservation and Rehabilitation projects. The Scope of Work should follow the Current (April 2014) CSI Master Format Divisions of Work. The following is an example of what a typical Scope of Work might include.
SCOPE OF WORK - RENOVATION DEVELOPMENT BUDGET
Divison | Item | Description | Total Cost
010000 | General Requirements
| Regulatory Requirements | Building permits | 500
020000 | Existing Conditions
| Assessment | Site Survey | 5500
030000 | Concrete
| Maintenance of Concrete | Cleaning of Cast-in-Place Concrete | 9200
040000 | Masonry
| Maintenance of Masonry | Unit Masonry Restoration | 19800
050000 | Metals
| Steel Roof Decking | Repair 4 existing decks | 12000
060000 | Wood, Plastics, and Composites
| Rough Carpentry | Miscellaneous in 10 units | 18000
| Finish Carpentry | Replace cabinets in 4 kitchens | 9000
070000 | Thermal and Moisture Protection
| Roofing | Roof Replacement | 82000
080000 | Openings
| Wood windows | 18 new windows | 6000
| Metal Doors | 4 new doors - exterior | 2000
090000 | Finishes
| Drywall | Repair/replace as needed - 4 units | 25000
100000 | Specialties
| Toilet, Bath, and Laundry Accessories | Shower Doors | 4800
| Lockers | Wire Mesh Storage Lockers | 1800
110000 | Equipment
| Residential Kitchens Appliances | 22 microwaves | 3350
120000 | Furnishings
| Horizontal Louver Blinds | Install new blinds in all units | 4000
130000 | Special construction
140000 | Conveying Systems
| Elevators | Elevator repairs | 22000
210000 | Fire Suppression
| Fire Protection | Install new sprinklers - hallway | 19000
220000 | Plumbing
| Plumbing fixtures | 14 new kitchen sinks | 4200
230000 | Heating, Ventilating, and Air Conditioning (HVAC)
| Air conditioning | 14 new sleeve air conditioners | 7000
250000 | Integrated Automation
260000 | Electrical
| Electrical service | Install new service box | 2000
270000 | Communications
| Voice Communications Terminal Equipment | Elevator Telephone replacement | 850
280000 | Electronic Safety and Security
| Video Surveillance | Parking Lot Security Cameras | 7700
310000 | Earthwork
| Site Clearing | Remove Overgrown/damaged trees | 2500
320000 | Exterior Improvements
| Fences and Gates | Replace privacy fencing | 4400
330000 | Utilities
| Operation and Maintenance of Utilities | Cleaning of sewer line | 850
340000 | Transportation
350000 | Waterway and Marine Construction
| Total Renovation Hard Costs |  | 273450
2018 LIHTC Appendix G-1 (Revised 10/2016) |  | Scope of Work Requirements | Page 1 of 1